## Slide 1: System aberration correction for whole brain imaging with a light sheet microscope
M.Caroline Müllenbroich, Ludovico Silvestri, Leonardo Sacconi & Francesco S. Pavone

## Slide 2: Outline
Adaptive Optics
  Introduction
  Wavefront sensorless aberration correction
  Random Search Algorithm
Microscope Setup
  Optical setup
  Sample preparation
  Software management
  Data management
Results
  System aberration correction
  Brain imaging
Outlook

## Slide 3: Adaptive Optics

## Slide 4
  Compensation of optical aberrations at large imaging depths
  Principle: use of pre-shaped wavefront with equal but opposite distortion to that introduced by the sample
  Wavefront generated by deformable membrane mirror (DMM)
  DMM shape determined by random search optimisation algorithm

## Slide 5
Start: initial shape from LUT
Select Random Actuator
Selection weighed with Gaussian distribution choosing central actuators more often than those in periphery
Change Actuator Voltage
Change limited by percentage of total actuator stroke
SOLUTION
Voltage change is accepted
No
Yes
Record Merit Factor
Improvement?
Iterations
Voltage reverts to previous value
At least a 100 successful iterations?
Yes
No

## Slide 6
Continue optimisation
No
Yes
Improvement in
MF within last n iterations?
Activate compensation:
Measure MF for m iterations
Calculate mean and σ of m measurements
Replace best MF with mean
Keep best MF
Apply best mirror shape
Resume optimisation

## Slide 7
substrate
post attachment
reflective membrane
actuator

## Slide 8: Digitally scanned light sheet microscope
Single axis scan creates light sheet
Projection into specimen at 90° to detection objective

## Slide 9
v
f 100
f 50
f 100
f 200
f 140
f 200
f 200
f 350
405 nm
445 nm
491 nm
515 nm
561 nm
LM
I1
I2
PBS
f 150
f 150
galvo
galvo
filter
wheel
f 350
LP 552
LP 503
LP 466
LP 427
AOTF
Camera
f 50
f 180
DMM
Illumination
Light-sheet generation
Detection

## Slide 10
z
x

## Slide 11
Pulse amplifier
PC1
NAS
EOM
Camera
AOTF
RF generator
PC2
DAQ
RS-232 Hub
Galvo 1
Galvo 2
405 nm laser
445 nm laser
491 nm laser
515 nm laser
561 nm laser
1 Gb/s ethernet
10 Gb/s SFP+
CameraLink
Co-axial
HV co-axial
USB
RS-232
RF co-axial
Internal bus
Connections
Supercomputing Centre
RS232 Daisy Chain
Servo motor
Translation x
Servo motor
Translation y
Servo motor
Translation z
Rotation stage
Servo motor

## Slide 12
Camera
CameraLink
board
10Gb network card
System
bus
Workstation
Laboratory
10 Gb Optical fibres
Raw data stream
Data conversion stream
Local SSD RAID 0
10.9TB
Network-attached storage
32.4 TB
Remote repository
CINECA
Transfer to remote repository
B
A

## Slide 13
PV
GAD
PI
B
C
PV
D
GAD
E
PI
A